Frost Products Ltd.

Guide Specifications in CSI Format

www.Frostproductsltd.com

Short-Form Version


Frost Products is a Canadian manufacturer of high quality commercial site furnishings and has been in business since 1961. For more information on Frost’s complete product line please visit www.frostproductsltd.com or call 1 (905) 332-5700.
This specification section is provided in CSI-format, and intended to be included in the Project Manual for a construction project.  Delete models and options not required for your project, and modify to your project requirements.

SECTION 129000

OTHER FURNISHINGS
PART 1   GENERAL

1.1 SECTION INCLUDES

A. Other Furnishings as scheduled in this Section and as indicated on the Drawings.

1.2 RELATED REQUIREMENTS

A. Section 129300 – Site Furnishings.
1. 129313 – Bicycle Racks

2. 129333 – Trash and Litter Receptacles

3. 12934313 – Site Seating
1.3 SUBMITTALS

A. Product Data:  Submit manufacturer's data sheets for each product specified, including the following:

1. Installation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Cleaning and maintenance instructions.

4. Replacement parts information.

B. Schedule:  Submit a Site Furnishings schedule, indicating the type and quantity to be installed in each location. 
C. USGBC LEED Submittals, Recycled Content: Materials and Resource Credits MR4.1 and MR4.2 - Recycled Content:  Submit manufacturer’s calculation of value of recycled content for specified products, calculated in accordance with USGBC LEED certification requirements.

D. Country of Origin:  Manufacturer must supply, with first submittal, Country of Origin information for each type of washroom accessory for this project.
1.4 QUALITY ASSURANCE

A. Manufacturer:  Provide products manufactured by a company with a minimum of 10 years successful experience manufacturing similar products.

B. Single Source Requirements:  To the greatest extent possible provide products from a single manufacturer.

C. Accessibility Requirements:  Comply with requirements applicable in the jurisdiction of the project, including but not limited to ADA and ICC/ANSI A117.1 requirements as applicable.
D. Hazardous Materials:  Comply with EU Directive “Restrictions of Hazardous Substances (RoHS) requirements.”
1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver, store and handle materials and products in strict compliance with manufacturer's instructions and recommendations.  Protect from damage.

1.6 WARRANTY 
A. Manufacturer’s Warranty for Site Furnishings:  Manufacturer’s standard 1 year warranty for materials and workmanship.
PART 2   PRODUCTS

2.1 MANUFACTURER
A. Basis of Design Products: Based on the quality and performance requirements of the project, specifications are based solely on the products of Frost Products Ltd.  www.Frostproductsltd.com. Location of manufacturing shall be Canada.

B. Substitutions:  The Architect will consider products of comparable manufacturers as a substitution, pending the contractor's submission of adequate documentation of the substitution in accordance with procedures in Division 1 of the Project Manual.  Documentation shall include a list of five similar projects of equivalent size where products have been installed for a minimum of two years, and manufacturer's certification that products are fabricated in Canada.

2.2 SITE FURNISHINGS SCHEDULE

1. SF-1: 2070 Frost Two Ring Steel Vandal Resistant Bike Rack.

2. SF-2: 2080 Frost Steel Five Bike Rack.

3. SF-3: 2090 Frost Steel Six Bike Rack.
4. SF-4: 2013 Frost Pet Waste Station.
5. SF-5: 2020-BLACK Frost Steel Outdoor Waste Receptacle.
6. SF-6: 2020-BLUE Frost Steel Outdoor Recycling Receptacle.

7. SF-7: 2021 Indoor/Outdoor Waste and Recycling Receptacle.
8. SF-8: 908 Frost Stainless Steel Compact Ashtray.

9. SF-9: 909 Frost Stainless Steel Ashtray.

10. SF-10: 920 Frost Steel Pedestal Ashtray.
11. SF-11: 2040 Frost 4’ Steel Bench.
12. SF-12: 2060 Frost 6’ Steel Bench.
PART 3   EXECUTION

3.1 INSTALLATION

A. Install products in strict compliance with manufacturer’s written instructions and recommendations, including the following:

1. Comply with manufacturer’s recommendations for proper support.

2. Use fasteners and anchors suitable for substrate and project conditions.
3. Test for proper operation.

3.2 CLEANING AND PROTECTION
A. Clean exposed surfaces using methods acceptable to the manufacturer.
B. Touch-up, repair or replace damaged products until Substantial Completion.

END OF SECTION

15/08/2012
102800-2

