Frost Products Ltd.

Guide Specifications in CSI Format

www.Frostproductsltd.com

Short-Form Version


Frost Products is a Canadian manufacturer of high quality commercial washroom accessories and has been in business since 1961. For more information on Frost’s complete product line please visit www.frostproductsltd.com or call 1 (905) 332-5700.
This specification section is provided in CSI-format, and intended to be included in the Project Manual for a construction project.  Delete models and options not required for your project, and modify to your project requirements.

SECTION 102800

WASHROOM ACCESSORIES

PART 1   GENERAL

1.1 SECTION INCLUDES

A. Washroom accessories as scheduled in this Section and as indicated on the Drawings.

1.2 RELATED REQUIREMENTS

A. Section 061000 - Rough Carpentry, coordination with blocking.

B. Section 092000 - Plaster and Gypsum Board, coordination with blocking.

C. Section 093000 - Tiling, coordination with layout and installation.

D. Section 102113 - Toilet Compartments, coordination with accessories.

E. Section 102814 - Baby Changing Stations, for baby changing stations.

1.3 SUBMITTALS

A. Product Data:  Submit manufacturer's data sheets for each product specified, including the following:

1. Installation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Cleaning and maintenance instructions.

4. Replacement parts information.

B. Schedule:  Submit a toilet accessory schedule, indicating the type and quantity to be installed in each washroom.  Use room numbers as indicated on the Drawings.

C. USGBC LEED Submittals, Recycled Content: Materials and Resource Credits MR4.1 and MR4.2 - Recycled Content:  Submit manufacturer’s calculation of value of recycled content for specified products, calculated in accordance with USGBC LEED certification requirements.

D. Country of Origin:  Manufacturer must supply, with first submittal, Country of Origin information for each type of washroom accessory for this project.

1.4 QUALITY ASSURANCE

A. Manufacturer:  Provide products manufactured by a company with a minimum of 10 years successful experience manufacturing similar products.

B. Single Source Requirements:  To the greatest extent possible provide products from a single manufacturer.

C. Accessibility Requirements:  Comply with requirements applicable in the jurisdiction of the project, including but not limited to ADA and ICC/ANSI A117.1 requirements as applicable.

D. Hazardous Materials:  Comply with EU Directive “Restrictions of Hazardous Substances (RoHS) requirements.”
1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver, store and handle materials and products in strict compliance with manufacturer's instructions and recommendations.  Protect from damage.

1.6 WARRANTY 

A. Manufacturer’s Warranty for Washroom Accessories:  Manufacturer’s standard 1 year warranty for materials and workmanship.

B. Manufacturer’s Warranty for Electric Hand Dryers:  Manufacturer’s standard 5 year complete warranty from date of purchase.
PART 2   PRODUCTS

2.1 MANUFACTURER

A. Basis of Design Products: Based on the quality and performance requirements of the project, specifications are based solely on the products of Frost Products Ltd.  www.Frostproductsltd.com. Location of manufacturing shall be Canada.

B. Substitutions:  The Architect will consider products of comparable manufacturers as a substitution, pending the contractor's submission of adequate documentation of the substitution in accordance with procedures in Division 1 of the Project Manual.  Documentation shall include a list of five similar projects of equivalent size where products have been installed for a minimum of two years, and manufacturer's certification that products are fabricated in Canada.

2.2 TOILET ACCESSORY SCHEDULE

A. Single-User Washroom, Standard Duty:

1. TA-1: 1001W Series Concealed Mounting Grab Bar. 
2. TA-2: 941 Series Standard Vandal Resistant Mirror.

3. TA-3: 159 Surface-Mounted Multi-Roll Toilet Tissue Dispenser.

4. TA-4: 101 Paper Towel Dispenser.
5. TA-5: 702 Wall-Mounted Soap Dispenser.

6. TA-6: 199-W Toilet Seat Cover Dispenser.

7. TA-7: 303-NL Wall Mounted Waste Receptacle.

8. TA-8: 620 Feminine Product Disposal.

9. TA-9: 1139-S Coat Hook.

10. TA-10: 878 Sharps Disposal.

11. TA-11: 1125 Baby Change Table.
B. Single-User Washroom, Core Premium:

1. TA-1: 1001-BLK Series Concealed Mounting Grab Bar. 
2. TA-2: 945-BLK Series Standard Vandal Resistant Mirror.
3. TA-3: 166-BLK Jumbo Roll Toilet Tissue Dispenser.
4. TA-4: 105-BLK Paper Towel Dispenser With Lock.
5. TA-5: 714-BLK Wall-Mounted Soap Dispenser.

6. TA-6: 199-BLK Toilet Seat Cover Dispenser.

7. TA-7: 303-NL-BLK Wall Mount Waste Receptacle.
8. TA-8: 620-BLK Feminine Product Disposal.
9. TA-9: 1139-BLK Coat Hook. 

10. TA-10: 878 Sharps Disposal.

11. TA-11: 1124-SS Stainless Steel Baby Change Table.
C. Single-User Washroom, Advanced Premium:

1. TA-1: 1001NP Series Concealed Mounting Grab Bar. 

2. TA-2: 941 Series Standard Vandal Resistant Mirror.
3. TA-3: 158-S Multi-Roll Toilet Tissue Dispenser.
4. TA-4: 135-70A Recessed Automatic Paper Towel Dispenser.

5. TA-5: 714-S Automatic, Surface Mounted Liquid Soap Dispenser.

6. TA-6: 199-S Toilet Seat Cover Dispenser.

7. TA-7: 340-A Wall Mounted Recessed Waste Receptacle.
8. TA-8: 625 Automatic Feminine Product Disposal.
9. TA-9: 1139-S Coat Hook. 

10. TA-10: 878 Sharps Disposal.

11. TA-11: 1124-SS Stainless Steel Baby Change Table.
D. Multiple-Use Washroom, Standard Duty:

1. TA-1: 1001W Series Concealed Mounting Grab Bar. 

2. TA-2: 1003-W30x30 L Shape Grab Bar.


(or)
TA-2A: 1055-W Swing Up Grab Bar.
3. TA-3: 941 Series Standard Vandal Resistant Mirror.
4. TA-4: 170 Surface-Mounted Jumbo Multi-Roll Toilet Tissue Dispenser.

5. TA-5: 1195 Eco-Fast Series Surface-Mounted Automatic Hand Dryer.
(or)
TA-5A: 101 Paper Towel Dispenser.


(and)
6. TA-6: 303-NL Wall Mounted Waste Receptacle. 
7. TA-7: 702 Wall-Mounted Foam Soap Dispenser.



(or)
TA-7A: 712 Counter Mounted Liquid Soap Dispenser.

8. TA-8: 199-W Toilet Seat Cover Dispenser.

9. TA-9: 620 Surface-Mounted Sanitary Napkin Waste Receptacle.

10. TA-10: 608-1 Surface-Mounted Sanitary Napkin / Tampon Vendor.

11. TA-11: 1139-S Coat Hook.

12. TA-12: 878 Sharps Disposal.

13. TA-13: 1125 Baby Change Table.

14. TA-14: 1120 Washroom Inspection Log.

15. TA-15: 950 Series Stainless Steel Shelf.
E. Multiple-Use Washroom, Core Premium:

1. TA-1: 1001-BLK Series Concealed Mounting Grab Bar. 

2. TA-2: 1003-BLK30x30 L Shape Grab Bar.




(or)
TA-2A: 1055-BLK Swing Up Grab Bar.
3. TA-3: 945-BLK Series Standard Vandal Resistant Mirror.

4. TA-4: 166-BLK Surface-Mounted Jumbo Roll Toilet Tissue Dispenser.

5. TA-5: 1198 Eco-Fast Series Surface-Mounted Automatic Hand Dryer.

(or)
TA-5A: 105-BLK Paper Towel Dispenser With Lock.

(or)
TA-5B: 400-14A-BLK Combination Paper Towel Dispenser and Disposal


(and)
6. TA-6: 303-NL-BLK Wall Mounted Waste Receptacle. 
7. TA-7: 714-BLK Wall-Mounted Liquid Soap Dispenser.



(or)
TA-7A: 716-BLK Counter Mounted Liquid Soap Dispenser.

8. TA-8: 199-BLK Toilet Seat Cover Dispenser.

9. TA-9: 620-BLK Surface-Mounted Sanitary Napkin Waste Receptacle.

10. TA-10: 618-1-FREE-BLK Surface-Mounted Sanitary Napkin / Tampon Vendor.

11. TA-11: 1139-BLK Coat Hook.

12. TA-12: 878 Sharps Disposal.

13. TA-13: 1124-SS Stainless Steel Baby Change Table.

14. TA-14: 1120 Washroom Inspection Log.

15. TA-15: 950 Series Stainless Steel Shelf.

16. TA-16: 1119 Stainless Steel Wet Floor Sign
F. Multiple-Use Washroom, Advanced Premium:

1. TA-1: 1001NP Series Concealed Mounting Grab Bar. 

2. TA-2: 1003-NP30x30 L Shape Grab Bar.



(or)
TA-2A: 1055-S Swing Up Grab Bar.
3. TA-3: 941 Series Standard Vandal Resistant Mirror.

4. TA-4: 169 Surface-Mounted Jumbo Multi-Roll Toilet Tissue Dispenser.

5. TA-5: 1193 Blue Express Series Surface-Mounted Automatic Hand Dryer.

(or)
TA-5A: 135-70A Recessed Automatic Paper Towel Dispenser.
(or)
TA-5B: 400-70A Automatic Combination Paper Towel Dispenser and Disposal


(and)
6. TA-6: 340-A Wall Mounted Recessed Waste Receptacle.
7. TA-7: 714-S Automatic, Surface Mounted Liquid Soap Dispenser.


          (or)     TA-7A: 716 Automatic Counter Mounted Liquid Soap Dispenser.

8. TA-8: 199-S Toilet Seat Cover Dispenser.

9. TA-9: 625 Automatic Feminine Product Disposal.
10. TA-10: 615-5 Recessed Sanitary Napkin / Tampon Vendor.

11. TA-11: 1139-S Coat Hook.

12. TA-12: 878 Sharps Disposal.

13. TA-13: 1124-SS Stainless Steel Baby Change Table.

14. TA-14: 1120 Washroom Inspection Log.

15. TA-15: 950 Series Stainless Steel Shelf.

16. TA-16: 1119 Stainless Steel Wet Floor Sign
PART 3   EXECUTION

3.1 INSTALLATION

A. Install products in strict compliance with manufacturer’s written instructions and recommendations, including the following:

1. Verify blocking has been installed properly.

2. Verify location does not interfere with door swings or use of fixtures.

3. Comply with manufacturer’s recommendations for backing and proper support.

4. Use fasteners and anchors suitable for substrate and project conditions 

5. Install units rigid, straight, plumb, and level, in accordance with manufacturer’s installation instructions and approved shop drawings.

6. Conceal evidence of drilling, cutting, and fitting to room finish.

7. Test for proper operation.

3.2 CLEANING AND PROTECTION

A. Clean exposed surfaces of compartments, hardware, and fittings using methods acceptable to the manufacturer.

B. Touch-up, repair or replace damaged products until Substantial Completion.


END OF SECTION

15/08/2012
102800-2

