Frost Products is a Canadian manufacturer of high quality commercial washroom accessories and has been in business since 1961. For more information on Frost’s complete product line please visit www.frostproductsltd.com or call 1 (905) 332-5700.

This specification section is provided in CSI-format, and intended to be included in the Project Manual for a construction project.  Delete models and options not required for your project, and modify to your project requirements.

SECTION 102800

WASHROOM ACCESSORIES

- GENERAL

  - SECTION INCLUDES

    - Washroom accessories as scheduled in this Section and as indicated on the Drawings.

  - RELATED REQUIREMENTS

    - Section 061000 - Rough Carpentry, coordination with blocking.

    - Section 092000 - Plaster and Gypsum Board, coordination with blocking.

    - Section 093000 - Tiling, coordination with layout and installation.

    - Section 102113 - Toilet Compartments, coordination with accessories.

    - Section 102814 - Baby Changing Stations, for baby changing stations.

  - SUBMITTALS

    - Product Data:  Submit manufacturer's data sheets for each product specified, including the following:

      - Installation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Cleaning and maintenance instructions.

      - Replacement parts information.

    - Schedule:  Submit a toilet accessory schedule, indicating the type and quantity to be installed in each washroom.  Use room numbers as indicated on the Drawings.

    - USGBC LEED Submittals, Recycled Content: Materials and Resource Credits MR4.1 and MR4.2 - Recycled Content:  Submit manufacturer’s calculation of value of recycled content for specified products, calculated in accordance with USGBC LEED certification requirements.

    - Country of Origin:  Manufacturer must supply, with first submittal, Country of Origin information for each type of washroom accessory for this project.

  - QUALITY ASSURANCE

    - Manufacturer:  Provide products manufactured by a company with a minimum of 10 years successful experience manufacturing similar products.

    - Single Source Requirements:  To the greatest extent possible provide products from a single manufacturer.

    - Accessibility Requirements:  Comply with requirements applicable in the jurisdiction of the project, including but not limited to ADA and ICC/ANSI A117.1 requirements as applicable.

    - Hazardous Materials:  Comply with EU Directive “Restrictions of Hazardous Substances (RoHS) requirements.”

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver, store and handle materials and products in strict compliance with manufacturer's instructions and recommendations.  Protect from damage.

  - WARRANTY

    - Manufacturer’s Warranty for Washroom Accessories:  Manufacturer’s standard 1 year warranty for materials and workmanship.

    - Manufacturer’s Warranty for Electric Hand Dryers:  Manufacturer’s standard 5 year complete warranty from date of purchase.

- PRODUCTS

  - MANUFACTURER

    - Basis of Design Products: Based on the quality and performance requirements of the project, specifications are based solely on the products of Frost Products Ltd.  www.Frostproductsltd.com. Location of manufacturing shall be Canada.

    - Substitutions:  The Architect will consider products of comparable manufacturers as a substitution, pending the contractor's submission of adequate documentation of the substitution in accordance with procedures in Division 1 of the Project Manual.  Documentation shall include a list of five similar projects of equivalent size where products have been installed for a minimum of two years, and manufacturer's certification that products are fabricated in Canada.

  - TOILET ACCESSORY SCHEDULE

    - Single-User Washroom, Standard Duty:

      - TA-1: 1001W Series Concealed Mounting Grab Bar.

      - TA-2: 941 Series Standard Vandal Resistant Mirror.

      - TA-3: 159 Surface-Mounted Multi-Roll Toilet Tissue Dispenser.

      - TA-4: 101 Paper Towel Dispenser.

      - TA-5: 702 Wall-Mounted Soap Dispenser.

      - TA-6: 199-W Toilet Seat Cover Dispenser.

      - TA-7: 303-NL Wall Mounted Waste Receptacle.

      - TA-8: 620 Feminine Product Disposal.

      - TA-9: 1139-S Coat Hook.

      - TA-10: 878 Sharps Disposal.

      - TA-11: 1125 Baby Change Table.

    - Single-User Washroom, Core Premium:

      - TA-1: 1001NP Series Concealed Mounting Grab Bar.

      - TA-2: 941 Series Standard Vandal Resistant Mirror.

      - TA-3: 150 Multi-Roll Toilet Tissue Dispenser.

      - TA-4: 107 Paper Towel Dispenser With Lock.

      - TA-5: 711 Wall-Mounted Soap Dispenser.

      - TA-6: 199-S Toilet Seat Cover Dispenser.

      - TA-7: 303-3NL Wall Mount Waste Receptacle.

      - TA-8: 622 Feminine Product Disposal.

      - TA-9: 1139-S Coat Hook.

      - TA-10: 878 Sharps Disposal.

      - TA-11: 1124-SS Stainless Steel Baby Change Table.

    - Single-User Washroom, Advanced Premium:

      - TA-1: 1001NP Series Concealed Mounting Grab Bar.

      - TA-2: 941 Series Standard Vandal Resistant Mirror.

      - TA-3: 158-S Multi-Roll Toilet Tissue Dispenser.

      - TA-4: 135-70A Recessed Automatic Paper Towel Dispenser.

      - TA-5: 714-S Automatic, Surface Mounted Liquid Soap Dispenser.

      - TA-6: 199-S Toilet Seat Cover Dispenser.

      - TA-7: 340-A Wall Mounted Recessed Waste Receptacle.

      - TA-8: 625 Automatic Feminine Product Disposal.

      - TA-9: 1139-S Coat Hook.

      - TA-10: 878 Sharps Disposal.

      - TA-11: 1124-SS Stainless Steel Baby Change Table.

    - Multiple-Use Washroom, Standard Duty:

      - TA-1: 1001W Series Concealed Mounting Grab Bar.

      - TA-2: 1003-W30x30 L Shape Grab Bar.

(or)	TA-2A: 1055-W Swing Up Grab Bar.

      - TA-3: 941 Series Standard Vandal Resistant Mirror.

      - TA-4: 170 Surface-Mounted Jumbo Multi-Roll Toilet Tissue Dispenser.

      - TA-5: 1195 Eco-Fast Series Surface-Mounted Automatic Hand Dryer.

(or)	TA-5A: 101 Paper Towel Dispenser.

(and)

      - TA-6: 303-NL Wall Mounted Waste Receptacle.

      - TA-7: 702 Wall-Mounted Foam Soap Dispenser.

(or)	TA-7A: 712 Counter Mounted Liquid Soap Dispenser.

      - TA-8: 199-W Toilet Seat Cover Dispenser.

      - TA-9: 620 Surface-Mounted Sanitary Napkin Waste Receptacle.

      - TA-10: 608-1 Surface-Mounted Sanitary Napkin / Tampon Vendor.

      - TA-11: 1139-S Coat Hook.

      - TA-12: 878 Sharps Disposal.

      - TA-13: 1125 Baby Change Table.

      - TA-14: 1120 Washroom Inspection Log.

      - TA-15: 950 Series Stainless Steel Shelf.

    - Multiple-Use Washroom, Core Premium:

      - TA-1: 1001NP Series Concealed Mounting Grab Bar.

      - TA-2: 1003-NP30x30 L Shape Grab Bar.

(or)	TA-2A: 1055-S Swing Up Grab Bar.

      - TA-3: 941 Series Standard Vandal Resistant Mirror.

      - TA-4: 166-S Surface-Mounted Jumbo Roll Toilet Tissue Dispenser.

      - TA-5: 1196 Eco-Fast Series Surface-Mounted Automatic Hand Dryer.

(or)	TA-5A: 107 Paper Towel Dispenser With Lock.

(or)	TA-5B: 400-50A Combination Paper Towel Dispenser and Disposal

(and)

      - TA-6: 303-3NL Wall Mounted Waste Receptacle.

      - TA-7: 711 Wall-Mounted Liquid Soap Dispenser.

(or)	TA-7A: 713 Counter Mounted Foam Soap Dispenser.

      - TA-8: 199-S Toilet Seat Cover Dispenser.

      - TA-9: 622 Surface-Mounted Sanitary Napkin Waste Receptacle.

      - TA-10: 608-3 Surface-Mounted Sanitary Napkin / Tampon Vendor.

      - TA-11: 1139-S Coat Hook.

      - TA-12: 878 Sharps Disposal.

      - TA-13: 1124-SS Stainless Steel Baby Change Table.

      - TA-14: 1120 Washroom Inspection Log.

      - TA-15: 950 Series Stainless Steel Shelf.

      - TA-16: 1119 Stainless Steel Wet Floor Sign

    - Multiple-Use Washroom, Advanced Premium:

      - TA-1: 1001NP Series Concealed Mounting Grab Bar.

      - TA-2: 1003-NP30x30 L Shape Grab Bar.

(or)	TA-2A: 1055-S Swing Up Grab Bar.

      - TA-3: 941 Series Standard Vandal Resistant Mirror.

      - TA-4: 169 Surface-Mounted Jumbo Multi-Roll Toilet Tissue Dispenser.

      - TA-5: 1193 Blue Express Series Surface-Mounted Automatic Hand Dryer.

(or)	TA-5A: 135-70A Recessed Automatic Paper Towel Dispenser.

(or)	TA-5B: 400-70A Automatic Combination Paper Towel Dispenser and Disposal

(and)

      - TA-6: 340-A Wall Mounted Recessed Waste Receptacle.

      - TA-7: 714-S Automatic, Surface Mounted Liquid Soap Dispenser.

- (or)     TA-7A: 716 Automatic Counter Mounted Liquid Soap Dispenser.

      - TA-8: 199-S Toilet Seat Cover Dispenser.

      - TA-9: 625 Automatic Feminine Product Disposal.

      - TA-10: 615-5 Recessed Sanitary Napkin / Tampon Vendor.

      - TA-11: 1139-S Coat Hook.

      - TA-12: 878 Sharps Disposal.

      - TA-13: 1124-SS Stainless Steel Baby Change Table.

      - TA-14: 1120 Washroom Inspection Log.

      - TA-15: 950 Series Stainless Steel Shelf.

      - TA-16: 1119 Stainless Steel Wet Floor Sign

- EXECUTION

  - INSTALLATION

    - Install products in strict compliance with manufacturer’s written instructions and recommendations, including the following:

      - Verify blocking has been installed properly.

      - Verify location does not interfere with door swings or use of fixtures.

      - Comply with manufacturer’s recommendations for backing and proper support.

      - Use fasteners and anchors suitable for substrate and project conditions

      - Install units rigid, straight, plumb, and level, in accordance with manufacturer’s installation instructions and approved shop drawings.

      - Conceal evidence of drilling, cutting, and fitting to room finish.

      - Test for proper operation.

  - CLEANING AND PROTECTION

    - Clean exposed surfaces of compartments, hardware, and fittings using methods acceptable to the manufacturer.

    - Touch-up, repair or replace damaged products until Substantial Completion.

END OF SECTION