Frost Products is a Canadian manufacturer of high quality commercial site furnishings and has been in business since 1961. For more information on Frost’s complete product line please visit www.frostproductsltd.com or call 1 (905) 332-5700.

This specification section is provided in CSI-format, and intended to be included in the Project Manual for a construction project.  Delete models and options not required for your project, and modify to your project requirements.

SECTION 129000

OTHER FURNISHINGS

- GENERAL

  - SECTION INCLUDES

    - Other Furnishings as scheduled in this Section and as indicated on the Drawings.

  - RELATED REQUIREMENTS

    - Section 129300 – Site Furnishings.

      - 129313 – Bicycle Racks

      - 129333 – Trash and Litter Receptacles

      - 12934313 – Site Seating

  - SUBMITTALS

    - Product Data:  Submit manufacturer's data sheets for each product specified, including the following:

      - Installation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Cleaning and maintenance instructions.

      - Replacement parts information.

    - Schedule:  Submit a Site Furnishings schedule, indicating the type and quantity to be installed in each location.

    - USGBC LEED Submittals, Recycled Content: Materials and Resource Credits MR4.1 and MR4.2 - Recycled Content:  Submit manufacturer’s calculation of value of recycled content for specified products, calculated in accordance with USGBC LEED certification requirements.

    - Country of Origin:  Manufacturer must supply, with first submittal, Country of Origin information for each type of washroom accessory for this project.

  - QUALITY ASSURANCE

    - Manufacturer:  Provide products manufactured by a company with a minimum of 10 years successful experience manufacturing similar products.

    - Single Source Requirements:  To the greatest extent possible provide products from a single manufacturer.

    - Accessibility Requirements:  Comply with requirements applicable in the jurisdiction of the project, including but not limited to ADA and ICC/ANSI A117.1 requirements as applicable.

    - Hazardous Materials:  Comply with EU Directive “Restrictions of Hazardous Substances (RoHS) requirements.”

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver, store and handle materials and products in strict compliance with manufacturer's instructions and recommendations.  Protect from damage.

  - WARRANTY

    - Manufacturer’s Warranty for Site Furnishings:  Manufacturer’s standard 1 year warranty for materials and workmanship.

- PRODUCTS

  - MANUFACTURER

    - Basis of Design Products: Based on the quality and performance requirements of the project, specifications are based solely on the products of Frost Products Ltd.  www.Frostproductsltd.com. Location of manufacturing shall be Canada.

    - Substitutions:  The Architect will consider products of comparable manufacturers as a substitution, pending the contractor's submission of adequate documentation of the substitution in accordance with procedures in Division 1 of the Project Manual.  Documentation shall include a list of five similar projects of equivalent size where products have been installed for a minimum of two years, and manufacturer's certification that products are fabricated in Canada.

  - SITE FURNISHINGS SCHEDULE

      - SF-1: 2070 Frost Two Ring Steel Vandal Resistant Bike Rack.

      - SF-2: 2080 Frost Steel Five Bike Rack.

      - SF-3: 2090 Frost Steel Six Bike Rack.

      - SF-4: 2013 Frost Pet Waste Station.

      - SF-5: 2020-BLACK Frost Steel Outdoor Waste Receptacle.

      - SF-6: 2020-BLUE Frost Steel Outdoor Recycling Receptacle.

      - SF-7: 2020-GREEN Frost Steel Outdoor Organics Receptacle.

      - SF-8: 920 Frost Steel Pedestal Ashtray.

      - SF-9: 2040 Frost 4’ Steel Bench.

      - SF-10: 2060 Frost 6’ Steel Bench.

- EXECUTION

  - INSTALLATION

    - Install products in strict compliance with manufacturer’s written instructions and recommendations, including the following:

      - Comply with manufacturer’s recommendations for proper support.

      - Use fasteners and anchors suitable for substrate and project conditions.

      - Test for proper operation.

  - CLEANING AND PROTECTION

    - Clean exposed surfaces using methods acceptable to the manufacturer.

    - Touch-up, repair or replace damaged products until Substantial Completion.

END OF SECTION